## Slide 1
Hyper-Pure Germanium in Planar Configuration
A HP Ge is a cooled solid state detector
LN2 Dewar
HP Ge
Charges Sensing Preamplifier

## Slide 2
Hyper-Pure Germanium in Planar Configuration
+
-
Rf
Cf
Spectroscopy
amplifier
Charge Sensing Preamplifier
… explanations later …
Germanium
cooled detector
 Low reverse current
Electrode connected to HV
Electrode
connected
to CSP
(virtual ground)
10mm
g
High Voltage (-)
p+ contact (0.3µm B)
n+ contact (0.7mm Li))
Na # 1010/cm3

## Slide 3
Hyper-Pure Germanium in Planar Configuration
Number of charges created by incident particle:
Statistics:
Where ? Well, in fact everywhere, but locally…

## Slide 4
Hyper-Pure Germanium in Planar Configuration
Electric field in the detector :
-HV
0V
Th
For simplicity, in fact
Meas. Electrode is reduced at
Its minimal size in order to
Reduce detector Cap.
… explanations later …
Na # 1010/cm3
Solve :
With boundaries conditions :
To obtain :
Z
z=0

## Slide 5
Hyper-Pure Germanium in Planar Configuration
Electric field in the detector :
-HV
0V
Th
In our example
HV = 1500V (negative)
Th = 1cm
Na # 1010/cm3
568V
1000V
1500V
250V
Z
z=0

## Slide 6
Hyper-Pure Germanium in Planar Configuration
Secondaries transport :
-HV
0V
Th
Z
z=0
z
N e-/h
electrons
holes
Are moving
At velocity
In our example
z=2mm
Mobility (#constant)

## Slide 7
Hyper-Pure Germanium in Planar Configuration
Secondaries transport : a cumbersome problem…
 Use numerical integration !
position
velocity
electrons
holes

## Slide 8
Hyper-Pure Germanium in Planar Configuration
Ramo virtual field :
0V
1V
Th
Remove all space charges
Put 1V on measuring electrode
Put 0V on others electrodes
Z
z=0
Intensity :
Uniform E field

## Slide 9
Hyper-Pure Germanium in Planar Configuration
Current generator :
0V
1V
Th
Z
z=0
100nA
Total
Electrons
Holes
-i(t)
Q=40666 x 1.6e-19 C = 122keVGe

## Slide 10
Hyper-Pure Germanium in Planar Configuration
And total charge :
1fC
Z
z=0
z=0.1
z=0.5
z=0.9
Same total charge
Various rise-times
Q=40666 x 1.6e-19 C = 122keVGe

## Slide 11
Hyper-Pure Germanium in Planar Configuration
Rise-time variability gives rise to ballistic deficit
Total charge is independent (in amplitude) of interaction position
Current shape depends on interaction position
 can be used to estimate it…
That’s all folks!