## Slide 1
Uncertainty in light measurement
For light sensors, uncertainty is closely related to light intensity
… but not only…
Let’s have a look at an exceptional sensor, the CCD
Readout noise
Typ. 30 e-RMS
Down to a few
e-RMS

## Slide 2
Uncertainty in light measurement
In the charges domain:
1 pixel
Dark current
photons
accumulation phase DT
Readout phase:

## Slide 3
Uncertainty in light measurement
In the charges domain:
Follow a Poisson law
Given by the constructor
=30
So, we need more than 900 PE to overcome electronics noise

## Slide 4
Uncertainty in light measurement
So, we need more than 900 PE to overcome electronics noise
By increasing exposure time, we get :

## Slide 5
Uncertainty in light measurement
And SNR becomes :
Increases as
decreases
Does not change
That’s why astro-photographers use cooled sensors (to reduce i)
and long exposures (to limit Readout noise incidence)

## Slide 6
Uncertainty in light measurement
But, there are other kinds of photodetectors, why not use them?
SiPM (=MPPC), emCCD (electron multiplying CCD), PM tube, …
All these devices provide internal gain that should help…
For real, do you believe it???
Let’s have a look at the amplification & other processes…

## Slide 7
Uncertainty in light measurement
PM tubes: Beware: it is PM specific…
Quantum efficiency # 30%
Amplification process :
PE are accelerated and when they hit the first dynode
each produces #4 secondary electrons, etc…
At the end of the process (10 dynodes for inst.)
we get #410 electrons # 1M for a single PE
Single PE spectrum is mainly governed by first dynode statistics
it is about a Poisson process of mean =4
Dark counts # 1000 c/s

## Slide 8
Uncertainty in light measurement
Quantum efficiency # 30%
Dark noise # 1000 c/s
PM tubes: Beware: it is PM specific…
mean = 1
Std. Dev # 1/2
Pulses time interval in counting mode >> 10ns

## Slide 9
Uncertainty in light measurement
MPPC: Beware: it is MPPC specific…
Quantum efficiency # 40%
Amplification process :
Single pixel avalanche: very very clean!!!
Gain # 2.106
Dark counts # 600 k c/s

## Slide 10
Uncertainty in light measurement
mean = 1
Std. Dev # 0.05
MPPC: Beware: it is MPPC specific…
Quantum efficiency # 40%
Dark counts # 600 k c/s
Pulses time interval in counting mode >> 100ns

## Slide 11
Uncertainty in light measurement
emCCD: Beware: it is emCCD specific…
Quantum efficiency # 90%
Amplification process :
Avalanche register. Hundreds of pixels, each with average
amplification probability of about 2%
Gain a few 103
Dark counts < 0.01 c/s
Single PE spectrum is about an exponential process of mean =1

## Slide 12
Uncertainty in light measurement
mean = 1
Std. Dev # 1
Pulse time interval in counting mode >> a few ms
depending on integration time
emCCD: Beware: it is emCCD specific…
Quantum efficiency # 90%
Dark counts < 0.01 c/s

## Slide 13
Uncertainty in light measurement
Counting mode
Integration mode
There are two ways to use a photodetector
threshold
+1
+1
+1
+1
=4
=6.37
Int. gate
Not CCD!
All detectors

## Slide 14
Uncertainty in light measurement
Counting mode
We need to « zero » our measurement
Zeroing is often a difficult task:
it shall be done for a duration longer than experiment
in order its uncertainty stay lower than experiment’s one
You must check its stationarity (i.e. it doesn’t vary, or if it does,
  at what speed)
Counting mode is “not” affected by gain variations.

## Slide 15
Uncertainty in light measurement
Charge integration mode
Same requirements for signal as in counting mode except:
You must check the gain of the system
Statistics plays us some funny tricks
We do not measure with fluctuations on N
But, in fact with both fluctuations on
the number of PEs and individual gain for each PE

## Slide 16
Uncertainty in light measurement
Charge integration mode
In fact, our measurement can be seen as an
Experiment on both number of Pes and gain.
This way :
Gives rise to the combined uncertainty :
With :
and,
0.5
0.05
1
1.25
1.00
2.00
For 100 PE

## Slide 17
Uncertainty in light measurement
That’s all folks!
This was the trick of the light*:
gain is not necessary your best friend…
* Thx, Mike!
For a specific application,
you shall check every aspect of your detector
Qeff
Dark counts
Unique PE spectrum
…
And see if another one couldn’t
give better results…