## Slide 1
n/g discrimination
The problem…
Particles beam
Active taget
Scintillator
neutron
g
neutron
activation
decay
time
Concrete wall
activation
Prompt g
neutrons
TOF
How to be sure an event we recorded is a n, not a g ?

## Slide 2
n/g discrimination
The problem…
Some scintillators exhibit a pulse shape dependence on
incident particle nature (anthracene, liquid scintillators, …)
The solution:
Pulse shape discrimination, using various integration gates
or optimal filtering…

## Slide 3
n/g discrimination
g
n
TOT
FAST
DELAYED
energy
analysis
Pulse shape discrimination using various gates :
Integration
gates
Gate tuning

## Slide 4
n/g discrimination
One step toward optimization:
1) define the factor of merit (FOM) of your technics
It depends on your intends
D
sg
sn
FOM=1.78
g
n
ANA = [30ns, 190ns]
About 100 PE.

## Slide 5
n/g discrimination
One step toward optimization:
2) define signal
With :
The total number of PEs in the full pulse
The voltage drop for 1PE (2mV for instance)
The pdf of n or g pulses
This is what interests us
Noise at sample I (mean ni=0)
Baseline for the pulse (=constant for one pulse
, mean over pulses = 0)

## Slide 6
n/g discrimination
One step toward optimization:
2) define signal
The pdf of n or g pulses

## Slide 7
noise
baseline
n/g discrimination
One step toward optimization:
2) define signal
PE signal
N=100
V1=8mV.ns
BL=0.5
Vrms=0.45

## Slide 8
n/g discrimination
One step toward optimization:
3) Define the measurement, for instance:
Leading to :
Here, we made a dot product of the analysis vector and signal
This is like filtering…
For the moment, we don’t know the Analysis vector.

## Slide 9
n/g discrimination
Pulse shape discrimination using various gates :
3) define the measurement uncertainty
Remember ni & BL are null on average

## Slide 10
n/g discrimination
Pulse shape discrimination using various gates :
3) define the measurement uncertainty
Excess noise factor
PE count at index i
Average charge for 1PE
Remember ni & BL are null on average

## Slide 11
n/g discrimination
Pulse shape discrimination using various gates :
3) define the measurement uncertainty
Remember ni & BL are null on average
Electronics noise

## Slide 12
n/g discrimination
Pulse shape discrimination using various gates :
3) define the measurement uncertainty
Remember ni & BL are null on average
Baseline variance :we assume constant baseline related to slow varying
Sinus baseline of BL amplitude (2 x BL pk to pk)

## Slide 13
n/g discrimination
Pulse shape discrimination using various gates :
3) Complete the FOM
For N=100, V1=8mV.ns, F=1.25, Vrms=0.5, ANA=[30ns, 190ns]
 We find FOM=1.8 (and with the MC, FOM=1.78)… not stupid!
Remember, we are seeking ai’s giving the best possible FOM…

## Slide 14
n/g discrimination
Pulse shape discrimination using various gates :
3) Optimize your FOM, in fact, we will let R do it for you…
signal <- function (A, T, S, N) {
sum(A * S) / sum(T * S)
}
noise <- function (A, T, S, N) {
num <- sum(A * S) * V1 * N
den <- sum(T * S) * V1 * N
v.quanta <- sum (((A*den-T*num)/den^2)^2 * V1^2 * S * 1.25 * N)
v.noise <- sum (((A*den-T*num)/den^2)^2 * Vrms^2)
v.baseline <- ((sum(A)*den-sum(T)*num)/den^2)^2 * 0.5 * BL^2
sqrt(v.quanta+v.noise+v.baseline)
}
A = Analysis gate
T = Total energy gate
S = signal (neutron or gamma)
N = PE count

## Slide 15
n/g discrimination
Pulse shape discrimination using various gates :
3) Optimize your FOM, in fact, we will let R do it for you…
FOM <- function (A, T, N) {
delta <- abs (signal(A, T, s.neut, N)-signal(A, T, s.gamm, N))
delta / (noise (A, T, s.neut, N) + noise (A, T, s.gamm, N))
}
cost <- function (params, ...) {
-FOM(params, ...)
}
A <- c(rep(0,20), rep(1, 106-20))
T <- rep(1, length(A))
A_ <- nlm (cost, A, T, 50)
nlm performs a minimization

## Slide 16
n/g discrimination
Pulse shape discrimination using various gates :
3) Optimize your FOM, in fact, we will let R do it for you…
FOM=1.95
No baseline variation

## Slide 17
n/g discrimination
Time for playing: how FOM varies with PEs number ?
Noise = 0mV
BL = 0mV
N=100
FOM = 1.95

## Slide 18
n/g discrimination
Time for playing: let’s fight !
Noise = 0mV
BL = 0mV
FOM = 1.95
Vs.
FOM = 1.81
Not so bad for
a simple gate…
Gate tuning is
relatively
permissive!

## Slide 19
n/g discrimination
Time for playing: how does FOM vary with PM gain ?
Once noise floor reached, FOM does not change anymore.
We are counting Pes  Poisson law IS the quantum limit
Red : optimal filter
Green : best integration gate
Vrms = 0.5mV
BL = 0mV
N = 100PE
Gain # 106

## Slide 20
n/g discrimination
Time for playing: how does FOM vary with PM PE spectrum ?
The single PE spectrum of your favorite PM tube
Is one of the major influence parameter of the FOM
Good PM
Bad PM
Good PM
Bad PM
Single PE spectra

## Slide 21
n/g discrimination
Time for playing: how does FOM vary with electronics noise ?
Not so much in fact…
Red : optimal filter
Green : best integration gate
BL = 0mV
N = 100PE

## Slide 22
n/g discrimination
Time for playing: how does FOM vary with baseline ?
Ouch catastrophe!!!
Slight variations of baseline can be disastrous in n/g discrimination
Red : optimal filter
Green : best integration gate
You should carefully review yours EMC…
Vrms = 0mV
N = 100PE

## Slide 23
n g discrimination
That’s all folks!
REMEMBER : All that was said is perfectly TRUE
for digital acquisition systems only
where electronics noise is perfectly correlated (once acquired)
REMEMBER, we are counting photons:
1PE = 8mVns (for instance)
1mVbaseline fluctuation x 200ns = 40PE!!!
For best performances, use PM tube
with good single PE spectrum
high quantum efficiency (obvious)
Details (gate start, duration, …) depends on your scintillator